## Slide 1
ATX PSU
cheap and reliable, available up to 1000W
Shielded housing
provides for EMV
requirements
Peripheral components
These may include:
- Entire HV units (low power)
- HV drivers w/ ext. transformers
- Sensor cards
- Oscilloscope modules
- Spectrometer modules
…and more
PCIe bus seems suited for this.
HDD rack:
Space may be used for further components, like pumps, flow controllers, etc.
Optical drive slots: Larger transformers might be housed in 5¼“ cases, thus good mount & EMV shielding w/ HV outlets in slot covers.
May also house voltage regulators (like RD DVS5020) in 5¼“ cases with control panel in slot cover.
Microcontroller or single-board computer
Many applications ask for external or remote control, logging of sensor or diagnostics data, etc.
Card slots / outlets
Suited for outlets of either limited HV voltages or connectors for ext. Transformers
Also take up connectors for sensors and diagnostics